## Instructions
Version 1.3
Compatibility Analysis Spreadsheet for modules with analogue output
DISCLAIMER
1 | This spreadsheet must be used in conjunction with the appropriate NZ approval certificates issued for the indicator and basework.
2 | The Ministry does not accept any responsibility towards the accuracy of this spreadsheet and is not liable for any loss inccured to the person or business.
3 | The Ministry recommends the users use their own skills and take utmost care when using this spreadsheet to determine the accuracy. If the Ministry later finds any descrepancy in the accuracy of the results, the configuration of the weighing instrument is deemed NOT
approved and may be rejected.

## Instrument Details
INSTRUMENT DETAILS
| Name of the person performing analysis | [5 empty] | Date
Organisation Name
| Address | [5 empty] | AP No. (if applicable)
| Reason for Analysis |  |  |  | Built New Instrument | [5 empty] | Reason for Analysis
| Instrument Category |  |  |  | Weighbridge | [5 empty] | Built New Instrument
| Hybrid Installation (Load cell & Lever) |  |  |  | NO | [5 empty] | Existing Instrument - replace loadcell / indicator
| Lever Ratio | [5 empty] | Do not Fill this field |  |  |  | 1 |  |  |  | Reduction Ratio, R
R = (Force on load cell / force on load receptor)
| Intial Zero Setting Range (IZSR in %) |  |  |  |  | % of Max Cap |  |  |  |  | instrument category |  |  |  | R = 1, for full load cell instruments
| Type of Instrument |  |  |  | Single-Interval or Single-Range | [5 empty] | Weighbridge
| Non Uniform Distribution of Load (NUD) |  |  |  |  | % of Max Cap |  |  |  |  | Platfrom type weighing instrument |  |  |  | Non Uniform Distribution of Load
[11 empty] | Bench type weighing instrument |  |  |  | NUD = 0% of Max
|  |  | Configuration Details | [7 empty] | Hopper/Bin type weighing instrument |  |  |  |  | for instruments with levere work and one load cell, or for instruments with minimal
[11 empty] | 1 |  |  |  |  | eccentric load applications, or instruments with single point load cell
NUD = 20% of Max
| FILL THIS SECTION: Single-Interval or Single-Range | [5 empty] | NOTE: All entries in 'kg' |  | Inst type | lever ratio | [5 empty] | for other convensional type weighing instruments
| NZ Approval Cert No. |  |  |  | No. of divisions (n) |  |  |  | Single-Interval or Single-Range | YES |  |  |  |  | NUD = 50% of Max
| Make |  |  |  | Model |  |  |  | Multi-Interval | NO | [5 empty] | for fork lifts scales, over-head track scales and weighbridges
| Max Capacity (kg) |  |  | kg | Verification Scale Interval 'e' (kg) |  |  |  | Multi-Range | 2 |  |  |  |  | NUD = 50% of Max total (for multi-platform instruments; variable selection or combined)
| Additive Tare |  |  | kg | No. of Load Cells |  |  |  | 1 | [5 empty] | NUD = 50% of Max single bridge (for multi-platform instruments; fixed combination)
| Dead Load of the Load Receptor |  |  |  | kg | [6 empty] | dead load | 2
NUD
Max Cap
IZSR
[12 empty] | lever ratio | 1
| STOP - DO NOT FILL THIS SECTION | [5 empty] | NOTE: All entries in 'kg' |  |  |  |  | no of loadcells | 0
| NZ Approval Cert No. |  |  |  | Make & Model: | [6 empty] | max no of div |  | for indicator interval checking
| Range | From | To |  | Scale Interval "e" |  |  | No. of Divisions | for Q value |  | argument | e' value
| Range 1 |  |  | kg | e1 = |  | kg |  | Max Cap | 0 |  | max no of div's |  | for load cell interval checking when DR value is unknown (multi-inter/multi-range)
| Range 2 |  |  | kg | e2 = |  | kg
| Range 3 |  |  | kg | e3 = |  | kg |  | highest no of divisions |  | 0 | for indicator interval checking
| Range 4 |  |  | kg | e4 = |  | kg
| Dead Load of the Load Receptor |  |  | 2 | kg | No. of Load Cells |  | 1 | no of divisions |  | #DIV/0! | for load cell interval checking
Version 1.3
Note on H26: Srinivas Bobbala: enter numeric value
Note on I39: Srinivas Bobbala: Enter numeric value

## Indicator & Loadcell Details
LOAD CELL DETAILS
Testing Authority Details
Load cells tested in accordance with OIML R60 |  | YES
Name of the Testing Authority
Is the Testing Authority listed under OIML for issuing OIML R60 certificate for load cells
#VALUE!
Note: Check at www.oiml.org
Overseas Authority Certificate of Approval No.
Load Cell Technical Details | [6 empty] | linearisation
Make & Model No. |  |  |  |  | test to R60 |  | 1
Maximum Capacity (Emax) |  |  | kg |  | YES |  | NO
Maximum number of loadcell verification scale intervals |  |  | grads |  | NO |  | YES
Minimum load cell verification scale interval (Vmin) |  |  | kg |  | 1
Load Cell sensitivity (aka output rating, nominal) |  |  | mV/V
Input Impedance |  |  | Ω |  | member
Minimum dead load (Emin) |  |  | kg |  | YES
Minimum dead load output return (DR) |  |  | kg (Optional) |  | NO |  |  |  |  | Z=Emax/2*DR
Does load cell require linearisation |  | #VALUE! |  |  | 1
INDICATOR DETAILS
|  |  |  | Y | #DIV/0!
NZ Cert of Approval No.
Make & Model No.
Max no. of verification scale intervals (n) |  |  | grads
Minimum load cell impedance |  |  | Ω
Maximum load cell impedance |  |  | Ω (Optional) | for digital loadcell see annex f.5
Min sensitivity value per verification scale interval |  |  | µV / grads
Maximum excitation current |  |  | mA
Excitation Voltage |  |  | V
|  |  | Do Not Fill | multi interval |  | ranges |  | linearisation | no. of points
|  |  | Do Not Fill | Yes |  | 0 |  | Yes | 0
| Number of linearisation points |  |  | No |  |  |  | No
|  |  | Do Not Fill | 1 |  |  |  | 1
|  |  | Version 1.3 | multi range |  | ranges
|  |  |  | Yes |  | 0
No
1

## Analysis Result
Compatibility Results | [15 empty] | PASS/FAIL/NA
[5 empty] | Overall Result |  | ERROR | Max = maximum capacity of the instrument | [5 empty] | IZSR
Correction Factor (Q) > 1 | [7 empty] | DL = Deal Load |  |  |  | 2
Q= (Max+DL+IZSR+NUD+T*) / Max | [7 empty] | NUD = 50% of max for weighbridges | [7 empty] | 1
Q | [7 empty] | T* = additive tare |  |  |  | 0
Emax ≥ Q x Max x R/N | [7 empty] | Emax = Load cell maximum capacity | [5 empty] | QxMax x R/n |  | 1
| ≥ | [6 empty] | R = Reduction Ratio (Lever Ratio) |  |  |  | 1
[8 empty] | N = number of load cells |  |  |  | 0
Emin ≤ DL x R/N | [7 empty] | Emin = Minimum Deal load of the load cell | [5 empty] | DL x R/N | #DIV/0! | 1
| ≤ | #DIV/0! | [5 empty] | DL = dead load of load receptor |  |  |  | 2
Min Dead Load output return (DR) value is UNKNOWN | [7 empty] | No. of LC intervals
[8 empty] | No. of div's for WI |  |  | multi-range | #VALUE!
| ≥ |  |  |  |  | N/A | [9 empty] | 0
Min Dead Load output return (DR) value is KNOWN | [7 empty] | DR |  | e1
Multi-Interval Instrument | [7 empty] | Emax |  | Max | 0
DR/Emax ≤ 0.5 x e1 / Max | [5 empty] | N/A | [9 empty] | 0
≤
Multi-range Instrument
DR/Emax ≤ e1 / Max | [5 empty] | N/A
| ≤ | [14 empty] | 0
Number of Indicator intervals and Load Cell intervals ≥ Number
of verification intervals for the Weighing Instrument | [7 empty] | No. of div's for Ind
nind |  | n WI |  | nLC |  |  |  | No. of div's for WI
| ≥ |  | ≤ | [12 empty] | 1
Vmin ≤ e x R/√N | [7 empty] | Vmin = minimum load cell verification scale interval
| ≤ | [6 empty] | e = verification scale interval for the instrument | [7 empty] | 1
[8 empty] | N = number of load cells |  |  |  |  | 0
R min ind ≤ (R load cell / N ) ≤ R max ind
| ≤ |  | ≤ |  |  |  |  | R = input resistance (aka impendence) Ω | [7 empty] | 1
Max exc current of ind ≥ (Uexc voltage of ind) x N/Loadcell input impedance | [7 empty] | R min ind |  | Rmax ind
#VALUE! | ≥ |  |  |  |  | #VALUE! |  | R load cell
Signal voltage per verification scale interval (∆u) is not less | [7 empty] | exc cur ind | #VALUE! | [6 empty] | #VALUE!
than the min sensitivity(voltage) value per verification | [7 empty] | LC_Sense |  | Emax | [6 empty] | ∆u=(1000*LC_sense*Uexc*R*e) / (Emax * N)
scale interval (μV) | [7 empty] | Uexc |  | N | 0 |  |  |  |  | 1
∆u | ≥ | μV | [5 empty] | R | 1 | Min sens |  | μV
| ≥ | [6 empty] | e | [7 empty] | #VALUE!
Version 1.3

## Detail (hidden)
Version No | Details | Status
1 | draft copy | OK
1.1 | In Analysis Results page, M40, M41 and O40 are corrected to refer to 'Indicator & Loadcell Detail" page | OK
1.2 | in Analysis Results page, H39 formula amended to calculate correct result
1.3 | In analysis results, 41 row criteria for max exc current for indicator added